## Slide 1: ADCPs
HYPACK 2020 Training Event
January 2020

## Slide 2: ADCP Programs
Collecting ADCP Data Across the Channel in Order to Compute Flows
HARDWARE:
  Use the ADCP.DLL to collect ADCP info from RD Instruments or SONTEK ADCPs.
PROCESSING:
  Use the ADCP PROFILE program to compute flows, output cross-sectional flow diagrams and output 2-D and 3-D DXF vectors.

## Slide 3: ADCP in SURVEY HARDWARE SETUP: ADCP.DLL
Click ‘Add Device and select the ADCP.DLL
Only check ‘Position if you intend to use the bottom tracking ability.
Enter the offsets in the usual manner.
Most ADCPs have a Serial RS-232 interface.
Check ‘Setup’ for specific settings for your ADCP.

## Slide 4: ADCP in SURVEY
ADCP Real Time Window: 3 Tabs
  Chart: Scrolling velocity display
  Text: Constantly updates table with velocities and depths
  Settings: Allows you to adjust settings to the ADCPs ‘on-the-fly’.
Notes: Update video for new display settings in hidable panel on bottom

## Slide 5: ADCP PROFILE
Plot profile cross-sections with the current data.
Compute velocity flows across each section.
Output ADCP current data to 2-D and 3-D DXF.

## Slide 6: ADCP PROFILE Settings
Profile View Tab:
Controls:
  Scaling of Chart
  Bottom Track
  Print Layout
Track view Tab:
Controls:
  Arrow Length
  Spacing
  Vector Type
Velocity Tab:
Controls:
  Units
  Visible Pings
  Flow Options

## Slide 7: ADCP PROFILE Settings (cont.)
Averaging Tab:
Apply averaging by:
Vertical or Horizontal
Number of bins or Distance
Labels Tab:
Controls:
  Labeling for Chart and for DXF Output.

## Slide 8: Thank You !
January 2020
HYPACK on Youtube.com ( Historical Sessions ) HYPACK Live Chat
HYPACK on Youtube.com ( Newer Sessions ) HYPACK Ustream
HYPACK SUPPORT Site HYPACK Website
Links to more information:
Contact Us:
Sales@HYPACK.com
Help@HYPACK.com
(860) 635 - 1500