SCHOTT GERÄTE GmbH
19.05.00
Dr. Jürgen Peters

TitroLine alpha
Setting up a calculation

Menu



TitroLine alpha
Key
Hints








Example calculation for the method 1 <<hydrochlor. acid>>.



























Choose <<yes>>.















This menu point is displayed in methods with <<EQ>> equivalence endpoint criteria. With other end point criteria there will be displayed <<EP>> (endpoint) or <<ml>> 



(stop at defined volume).
The sign * in the beginning of a formula shows the first
formula. A selection is possible with the <ROLL UP> or
<ROLL DOWN> keys.







The wanted formula will be selected with <ENTER>.











1 ml 0,1 mol/l NaOH are equivalent to 3.646 mg HCl.



The options <<Factors>>, <<Quotient>> or <<Blanc>>
have the possibility to use a global memory by using the <FILL> key.





This is useful e.g. for taking a titre-factor from a
preceding titration with the titre determination.





A weight or a volume in a method will be multiplicated
with the quotient.









Alphanumeric sample identifications can be given in by pressing the <ALPHA> key and the letter key at the same time.







Unit:  [mg]







Input of the sample identification











































The result of the titration can be stored in a global memory. It can be used in other methods e.g. using a titre or blanc value.











Choose memory











The option <<Run>> gives the possibility to run a calculation with a new formula using the actual titration data.









		Mth�	1�<START>/<up/dwn>�Hydrochloric acid





ESC





ESC





�Calculation<ESC>�    Edit     Run





ENTER





�Calculation�test./store





ENTER





�Result ( Memory�no   1  2  3  4  5





ENTER





�Statistics�      yes    no





ENTER





�Decimal  places�1  2  3  4  5  6  7  8 





ENTER





�Smoothing?�       yes      no





ENTER





H





L





C





ALPHA





+





�Input  unit:�         <ENTER>





ENTER





G





M





�Input  unit:�         <ENTER>





ALPHA





+





ENTER





�Quotient: Q=�1.000000 <ENTER>





ENTER





�FACTOR: F2=�1.000000 <ENTER>





ENTER





,





6





4





6





3





�FACTOR: F1=�1.000000 <ENTER>





�Select  <up/dwn>�*   EQ1*F*F2/Q





ENTER





ENTER





�Number of EQ�     0      1    2





ENTER





�Calculation<ESC>�    Edit      Run





ENTER





	CAL�		1�Change calculation�     yes      no





ENTER





�MTH CALC DOC STD�LIST   PRN   MEAS





�MTH CALC DOC STD�LIST   PRN   MEAS





		Mth�		1�<START>/<up/dwn>�Hydrochlor. acid





MODE








Datei: englisch CAL 000519.doc

1
CAL 000519 E.doc

