TitroLine alpha
List  of  the  standard  parameter
[image: image1.wmf]

Para-meter set
Titration type
Method name
or sample

10
Strong acid-base –
hydrochlor. acid


titration, dynamic
sulphuric acid


with 1 equivalence point
nitric acid



perchloric acid



hydroxil



strong acid (1 EQ)

11
Weak acid-base –
acetic acid


titration, dynamic
formic acid


with 1 equivalence point
boric acid



benzoic acid



carbonic acids (1 EQ)



citric acid(1 EQ)



acid



free fatty acid



carbonylic number



acids general (1 EQ)

12
Dynamic with
phosphoric acid


2 equivalence points
acids general (2 EQ)

13
Strong and weak
HCL/CH3COOH


acid mixture
mixture of acids (2 EQ)

14
Acid with 2 protons
oxalic acid (2 EQ)



weak acid (2 EQ)

15
Test of any acid
testtitration acid

16
Fixed endpoint titration
citric acid

17

CB 8.2
(p-value)

18

CB 4.3/8.2
(p+m)

19

CB 4.3
(m-value)

20

tataric acid
(EP)



total acid
(EP)

21
Base titrated with
sodiumhydroxide


a strong acid,
potassiumhydroxide


one equivalence point
saponific



strong base (1 EQ)

22
Medium strong base
amines (1 EQ)


titrated with a strong acid
bases general (1EQ)


one equivalence point
amonium hydroxide





Para-meter set
Titration type
Method name
or sample

23
Weak strong base titrated
Ammonium-N


with a strong acid,
N (Kjeldahl)


one equivalence point
weak base (1 EQ)


24
Base titrated with a strong
NaOH/Na2CO3


acid, 2 equivalence points
base general (2 EQ)

25
Weak bases
weak bases (2 EQ)

26
Test titration of a base
test titration bases

27
Fixed endpoint titration
CA 4.3
(m-value)

28

CA 8.2/4.3
(p+m)

29
Titration with acids
TBN  DIN/ISO 3771


in organic solvents
epoxy number DIN 53 188



TBN  ASTM 664

30
Bases in organic solvents
amine with HCLO4



total acidity

31
Acids in organic solvents
TAN  ASTM 664

32

acid number in resin



NZ  DIN 51 508 T2

33
Titration with
chlorid  0.1 AgNO3


Ag electrode and AgNO3,
bromide  0.1 AgNO3


medium jump
iodine  0.1 AgNO3



rhodanid  0.1 AgNO3

34
mV titration, weak jump
Cl, potable water

35

traces of chlorid

36
mV titration with
Br/Cl  0.1 AgNO3


two jumps
I/Br  0.1 AgNO3



I/Cl  0.1 AgNO3

37
mV titration with 1 EP
cyanide  0,1 AgNO3

38
Redox titration with
Fe-II (Redox)


a strong jump
sodium oxalate



cerimetry



permanganometry

39
Redox titration
dichromatometry

40
Iodometric
thiosulphate with iodine


redox titration
arsenic-III with iodine


medium jump
titration with iodine




Para-meter set
Titration type
Method name
or sample

41
Iodometric,
iodine with thiosulphate


mV titration decreasing
Cu-II iodometric


one jump
tin iodometric



sulphite iodometric



sulphide iodometric



peroxide iodometric



H2O2 iodometric



iodnumber DIN 53 241T1

42
Redox titration decreasing
oxygene


one jump
sugar



peroxid

43
Redox titration decreasing
CSB, COD


one strong jump


44
Redox titration
diazotization

45
slow increasing
normality plumb

46

sulphate with Pb-II

47

sulphate (blank)

48

fluoride with La (III)

49
mV titration with
Cu-ISE (back titration)


ion sensitive electrode
Cr(III) with Cu-ISE



Al with Cu-ISE



Ni with Cu-ISE

50
mV titration
2 equivalence points with
ion sensitive electrode
Ca/Mg with Ca-ISE

51
mV titration with
ion sensitive electrode
Cu with Cu-ISE

52

Zn with Cu-ISE



Cd with Cu-ISE

53
pH-stat titration
pH-stat generally

54

pH-stat enzymes

55

pH-stat soilsample

56
Karl-Fischer
H2O normal
(1K)

57
moisture determination
H2O low
(1K)

58

H2O delayed
(1K)

[image: image1.wmf]LIS 000519 E.doc

