## Whole of Life Comparison (30y)
Total Cost of Ownership
Assumptions | [13 empty] | Not Included in Calculation additional benefits of iPerl
30y is sufficient timeframe to analyse different replacement cycles. | [13 empty] | Electricity Savings and Impact on Network due to lower head-loss of the iPerl.
Only Metrology | [13 empty] | Risks associated with having two separate devices versus an integrated device.
Straightline Calculation | [13 empty] | Quality issues that are deemed water network issues and therefore not recorded as mechanical meter quality issues.
Total Accuracy based on 10-point testing (not AS3565.4). | [13 empty] | More effective theft detection.
Reduced need for ongoing testing of meters.
Calculation does not highlight the increased differential in measuring performance as size of meter increases.
Results | iPerl |  | Volumetric (Magnetic Coupling) |  |  | NB-IoT Ultrasonic with 10 year life |  |  | Volumetric (Direct Drive) |  |  |  |  | Quality issues that are not detected and impact of low sensitivity at low flow.
NPV $M | 9182.3716 |  | 9164.6846 |  |  | 9009.756 |  |  | 9016.8398
Net Benefit of that Meter over 1 years. | 306.0791 | 0% | 305.4895 | -0.1926% |  | 300.3252 | -1.88% |  | 300.5613 | -1.803%
Volume Measured over 1 years. | 214 |  | 209.4739 |  |  | 209.72 |  |  | 205.654
Meter Fleet $M Revenue | 9463497724.8727 | 0 | 9306634949.1055 | -156862775.7672 |  | 9244456400.4245 | -219041324.4482 |  | 9130163261.1352 | -333334463.7375
Meter Fleet Volume (GL) | 2364700000 | 0 | 2314686595 | -50013405 |  | 2317406000 | -47294000 |  | 2272476700 | -92223300
No. of Meters to Replace per year. | 736667 |  | 502273 |  |  | 1105000 |  |  | 736667
Criteria
Initial Meter Price (excl GST) | 150 |  | 35.5 |  |  | 100 |  |  | 30
Installation Cost | 30 |  | 30 |  |  | 30 |  |  | 30
Network Monthly Cost | 0 | per month | 0 | per month |  | 0 | per month |  | 0 | per month | [5 empty] | -280392957.3464
Sensus Analytics | 0 | per month | 0 | per month |  | 0 | per month |  | 0 | per month | [5 empty] | -79560331.5
Failure Rate | 3% |  | 0.5% |  |  | 2% | Same Failure rate due to electronics, maybe higher due meters being only designed for 6 year life |  | 0.5%
Initial Accuracy | 100% |  | 101% |  |  | 98% |  |  | 101% | [6 empty] | 1989000000
Error Degradation | 0% |  | -0.35% |  |  | 0% |  |  | -0.7%
Qty | 1 |  | 1 |  |  | 1 |  |  | 1
Meter Life (years) | 15 |  | 22 |  |  | 10 |  |  | 15
Average Consumption per Connection per year | 214 | kL | 214 | kL |  | 214 | kL |  | 214 | kL
Average Water Cost | 2.31 | per kL | 2.31 | per kL |  | 2.31 | per kL |  | 2.31 | per kL
Inflation | 1.7% |  | 1.7% |  |  | 1.7% |  |  | 1.7%
Discount Rate | 7%
Meter Fleet Size | 11050000
Comparison Years | 1
iPerl
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
New Installs | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
Removed Meters |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -1
Total Quantity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Meter Accuracy | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Revenue $k AUD | 0 | 502.7438 | 511.2904 | 519.9824 | 528.8221 | 537.812 | 546.9548 | 556.2531 | 565.7094 | 575.3264 | 585.107 | 595.0538 | 605.1697 | 615.4576 | 625.9204 | 636.561 | 647.3826 | 658.3881 | 669.5807 | 680.9635 | 692.5399 | 704.3131 | 716.2864 | 728.4633 | 740.8472 | 753.4416 | 766.2501 | 779.2763 | 792.524 | 805.9969 | 819.6989
Volume |  | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214 | 214
Meter Costs (Including Installation) | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Network Charges |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensus Analytics |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Failure Rate |  | -0.36102 | -0.36206 | -0.36311 | -0.36419 | -0.36528 | -0.36639 | -0.36751 | -0.36866 | -0.36983 | -0.37102 | -0.37222 | -0.37345 | -0.3747 | -0.37597 | -0.37726 | -0.37858 | -0.37991 | -0.38127 | -0.38265 | -0.38406 | -0.38549 | -0.38694 | -0.38842 | -0.38992 | -0.39145 | -0.393 | -0.39458 | -0.39619 | -0.39783 | -0.39949
Net Benefit | -180 | 716.3828 | 724.9284 | 733.6192 | 742.4579 | 751.4468 | 760.5885 | 769.8856 | 779.3407 | 788.9566 | 798.736 | 808.6816 | 818.7963 | 829.0829 | 839.5444 | 670.1838 | 861.004 | 872.0082 | 883.1994 | 894.5809 | 906.1559 | 917.9276 | 929.8995 | 942.0749 | 954.4572 | 967.0501 | 979.8571 | 992.8817 | 1006.1278 | 1019.5991 | 1033.2994
Volumetric (Magnetic Coupling)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
New Installs | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Removed Meters |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Quantity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Meter Accuracy | 101% | 100.6% | 100.3% | 99.95% | 99.6% | 99.25% | 98.9% | 98.55% | 98.2% | 97.85% | 97.5% | 97.15% | 96.8% | 96.45% | 96.1% | 95.75% | 95.4% | 95.05% | 94.7% | 94.35% | 94% | 93.65% | 101% | 100.6% | 100.3% | 99.95% | 99.6% | 99.25% | 98.9% | 98.55% | 98.2%
Meter Accuracy | 101% | 100.6% | 100.3% | 99.95% | 99.6% | 99.25% | 98.9% | 98.55% | 98.2% | 97.85% | 97.5% | 97.15% | 96.8% | 96.45% | 96.1% | 95.75% | 95.4% | 95.05% | 94.7% | 94.35% | 94% | 93.65% | 101% | 100.6% | 100.3% | 99.95% | 99.6% | 99.25% | 98.9% | 98.55% | 98.2%
Revenue $k AUD | 0 | 506.0116 | 512.8243 | 519.7224 | 526.7068 | 533.7784 | 540.9383 | 548.1874 | 555.5266 | 562.9569 | 570.4793 | 578.0948 | 585.8043 | 593.6089 | 601.5095 | 609.5072 | 617.603 | 625.7979 | 634.0929 | 642.4891 | 650.9875 | 659.5892 | 723.4493 | 733.1983 | 743.0697 | 753.0648 | 763.1851 | 773.4318 | 783.8063 | 794.31 | 804.9443
Volume |  | 215.391 | 214.642 | 213.893 | 213.144 | 212.395 | 211.646 | 210.897 | 210.148 | 209.399 | 208.65 | 207.901 | 207.152 | 206.403 | 205.654 | 204.905 | 204.156 | 203.407 | 202.658 | 201.909 | 201.16 | 200.411 | 216.14 | 215.391 | 214.642 | 213.893 | 213.144 | 212.395 | 211.646 | 210.897 | 210.148
Meter Costs (Including Installation) | -65.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -65.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Network Charges |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensus Analytics |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Failure Rate |  | -0.015002 | -0.01512 | -0.01524 | -0.015362 | -0.015486 | -0.015612 | -0.01574 | -0.015871 | -0.016003 | -0.016138 | -0.016275 | -0.016415 | -0.016557 | -0.016701 | -0.016848 | -0.016997 | -0.017149 | -0.017303 | -0.01746 | -0.01762 | -0.017782 | -0.017948 | -0.018116 | -0.018286 | -0.01846 | -0.018637 | -0.018816 | -0.018999 | -0.019185 | -0.019374
Net Benefit | -65.5 | 721.3876 | 727.4512 | 733.6001 | 739.8354 | 746.158 | 752.5687 | 759.0687 | 765.6587 | 772.3399 | 779.1132 | 785.9795 | 792.9399 | 799.9953 | 807.1468 | 814.3953 | 821.742 | 829.1877 | 836.7336 | 844.3806 | 852.1299 | 859.9824 | 874.0713 | 948.5712 | 957.6934 | 966.9394 | 976.3104 | 985.8079 | 995.4333 | 1005.1878 | 1015.0729
NB-IoT Ultrasonic with 10 year life
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
New Installs | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Removed Meters |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Quantity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Meter Accuracy | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98% | 98%
Revenue $k AUD | 0 | 492.6889 | 501.0646 | 509.5827 | 518.2456 | 527.0558 | 536.0157 | 545.128 | 554.3952 | 563.8199 | 573.4048 | 583.1527 | 593.0663 | 603.1485 | 613.402 | 623.8298 | 634.4349 | 645.2203 | 656.1891 | 667.3443 | 678.6891 | 690.2268 | 701.9607 | 713.894 | 726.0302 | 738.3727 | 750.9251 | 763.6908 | 776.6735 | 789.877 | 803.3049
Volume |  | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72 | 209.72
Meter Costs (Including Installation) | -130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Network Charges |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensus Analytics |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Failure Rate |  | -0.26102 | -0.26206 | -0.26311 | -0.26419 | -0.26528 | -0.26639 | -0.26751 | -0.26866 | -0.26983 | -0.27102 | -0.27222 | -0.27345 | -0.2747 | -0.27597 | -0.27726 | -0.27858 | -0.27991 | -0.28127 | -0.28265 | -0.28406 | -0.28549 | -0.28694 | -0.28842 | -0.28992 | -0.29145 | -0.293 | -0.29458 | -0.29619 | -0.29783 | -0.29949
Net Benefit | -130 | 702.1479 | 710.5226 | 719.0396 | 727.7014 | 736.5105 | 745.4694 | 754.5805 | 763.8465 | 773.2701 | 652.8538 | 792.6005 | 802.5129 | 812.5938 | 822.846 | 833.2725 | 843.8763 | 854.6604 | 865.6278 | 876.7816 | 758.1251 | 899.6614 | 911.3938 | 923.3256 | 935.4603 | 947.8013 | 960.3521 | 973.1162 | 986.0974 | 999.2992 | 1012.7254
Volumetric (Direct Drive)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
New Installs | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Removed Meters |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Quantity | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Meter Accuracy | 101% | 100.3% | 99.6% | 98.9% | 98.2% | 97.5% | 96.8% | 96.1% | 95.4% | 94.7% | 94% | 93.3% | 92.6% | 91.9% | 91.2% | 101% | 100.3% | 99.6% | 98.9% | 98.2% | 97.5% | 96.8% | 96.1% | 95.4% | 94.7% | 94% | 93.3% | 92.6% | 91.9% | 91.2% | 101%
Meter Accuracy | 101% | 100.3% | 99.6% | 98.9% | 98.2% | 97.5% | 96.8% | 96.1% | 95.4% | 94.7% | 94% | 93.3% | 92.6% | 91.9% | 91.2% | 101% | 100.3% | 99.6% | 98.9% | 98.2% | 97.5% | 96.8% | 96.1% | 95.4% | 94.7% | 94% | 93.3% | 92.6% | 91.9% | 91.2% | 101%
Revenue $k AUD | 0 | 504.252 | 509.2453 | 514.2626 | 519.3033 | 524.3667 | 529.4523 | 534.5592 | 539.6867 | 544.8341 | 550.0006 | 555.1852 | 560.3872 | 565.6055 | 570.8394 | 642.9266 | 649.3247 | 655.7545 | 662.2153 | 668.7062 | 675.2264 | 681.7751 | 688.3512 | 694.954 | 701.5823 | 708.2351 | 714.9113 | 721.6099 | 728.3296 | 735.0692 | 827.8959
Volume |  | 214.642 | 213.144 | 211.646 | 210.148 | 208.65 | 207.152 | 205.654 | 204.156 | 202.658 | 201.16 | 199.662 | 198.164 | 196.666 | 195.168 | 216.14 | 214.642 | 213.144 | 211.646 | 210.148 | 208.65 | 207.152 | 205.654 | 204.156 | 202.658 | 201.16 | 199.662 | 198.164 | 196.666 | 195.168 | 216.14
Meter Costs (Including Installation) | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Network Charges |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensus Analytics |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Failure Rate |  | -0.02017 | -0.020343 | -0.020519 | -0.020698 | -0.020879 | -0.021064 | -0.021252 | -0.021444 | -0.021638 | -0.021836 | -0.022037 | -0.022242 | -0.02245 | -0.022662 | -0.022877 | -0.023096 | -0.023319 | -0.023545 | -0.023775 | -0.024009 | -0.024248 | -0.02449 | -0.024736 | -0.024987 | -0.025241 | -0.0255 | -0.025764 | -0.026032 | -0.026305 | -0.026582
| -60 | 718.8738 | 722.3689 | 725.888 | 729.4306 | 732.9959 | 736.5832 | 740.192 | 743.8213 | 747.4705 | 751.1387 | 754.8252 | 758.5289 | 762.2491 | 765.9847 | 799.0438 | 863.9436 | 868.8752 | 873.8377 | 878.8304 | 883.8524 | 888.9028 | 893.9808 | 899.0852 | 904.2153 | 909.3698 | 914.5478 | 919.7481 | 924.9695 | 930.2109 | 1044.0093